HM 480-50

HYDRAULICALLY-DRIVEN

### AC GENERATOR

# BY

240 V
50 Hz

4800
Watts
1 Phase

\

| # QUALITY FEATURES |  |  |  |  |
| --- | --- | --- | --- | --- |
| Brushless AC Generator |  | Includes Pressure Compensating Flow Regulator |  |  |
| Maintenance Free Design |  | Lifetime Guaranteed Alignment |  |  |
| #### SPECIFICATIONS |  |  |  |  |
| Flow = | ##### 11.0 GPM |  | Volts = | 240 |
| Pressure = | 2000 PSI |  | Amps = | 20 @ 240 V |
| Speed = | 3000 RPM |  | Watts = | 4800 Continuous |
| Weight = | 141 Lbs |  | Power Factor = | 1.0 |
| Dimensions = | 8” W * 10” H * 27” L |  | Temperature Rating = | 105 C |

FERNDALE, NY 12734

(845)-292-0800
http://www.getec.com