HYDROMAX CC- 1200

Hydraulically   driven

AC GENERATOR

Generator

Voltage

120 V   or

120/240 V

AC POWER

12 000 WATT Cont.

14 000 Watt interm.

FREQUENCY

60 HZ

This innovating new Hydraulic

Drive by GETEC saves Space and Weight.

The length of this Generator has been reduced by  5 ½ inch.

This innovative  Drive Design extends the life of the Hydraulic Drive by over 50 %.

The Weight of the Rotor is carried by the Generator Bearing and not by the Hydr. Motor Shaft like all  other Designs.

Hydraulic Requirements

15 GPM @ 2450 PSI

18 GPM @ 2250 PSI

Mechanical

Speed       3600 RPM

Size          9.5 in H,9.5 in W,22 in L

Weight      112 LBS

(845)-292-0800

http://www.getec.com

624 Harris Road

Ferndale New York 12734

Electrical

Sinewave less than 4 % Distortion

Motor Starting  400 %

Voltage Regulation 3 % @ 3600 RPM

Compound Voltage Regulation

Continuous Overload up to 13 KW

Temperature Rating 105 C

Insulation Class H